SAMPLE NO. 1

CITY OF THUNDER BAY

CONSTRUCTION OF SANITARY SEWERS AND WATERMAINS

CONTRACT 1-99

SECTION 00900 - ADDENDUM NO. 1

This Addendum forms part of the Contract Documents. Include the related costs in the tender price. Insert the Addendum behind the Cover Page of the Contract Documents.

- TENDER FORM, Page 7, Item 0003

Change Quantity from 20 to 25 tons.

- SUPPLEMENTARY GENERAL CONDITIONS, Page 2

Add:

Performance Bond (GC-6.04)

- Notwithstanding the provisions of the General Conditions, no Performance Bond will be required.

- SECTION 02660 – WATERMAINS, Page 3, Part 2.02

Add:

- Use fill material from on site sources as directed by the Engineer.

- Drawing --------, Door Schedule

Change Door No. 107A to Type B 2.

CONTRACT NO. 1 – SECTION 00900 - ADDENDUM NO. 1

For Addendum exceeding three pages use Sample No. 2

SAMPLE NO. 2

CITY OF THUNDER BAY

CONSTRUCTION OF SANITARY SEWERS AND WATERMAINS

CONTRACT NO. 1-99

SECTION 00900 - ADDENDUM NO. 1

This Addendum forms part of the Contract Documents. Include the related costs in the tender price. Insert the Addendum behind the Cover Page of the Contract Documents.

List of Contents are:		(List when addendum is complete)

- Lists of Contents and Affected Parts – page(s) ____

- Items – page(s) _____

- Specification Section _____________ page(s) 1 to ______

- Drawings		B-_____	Sheet _____

E-_____

E-STD _____

- Appendix

etc.

Parts Affected by this Addendum are:	(List when addendum is complete)

- Form of Tender	Item No. 0036

- Supplementary Conditions	Item No. GC 6.04

- Section 02660 - Watermains	Part 2.02

- Section 02700 - Sewers	Part 2.01

- Drawing	Door Schedule

- A108	Door 107A

etc.

CONTRACT 1-99 - SECTION 00900 - ADDENDUM NO. 1

SAMPLE NO. 2

`

- TENDER FORM, Page 7, Item 0036

Change quantity from 20 to 25 tons

- SUPPLEMENTARY CONDITIONS, Page 2

Add:

Performance Bond (GC6.04)

A.	Notwithstanding the provisions of the General Conditions, no Performance Bond will be required.

- SECTION 02660 – WATERMAINS, Page 3, part 2.02

Add:

Use fill material from on site source as directed by the Engineer.

- SECTION 02700 – SEWERS, Page 3, Part 2.01

Delete C. and substitute

3.	Reinforced concrete sewer pipe – comply with ASTM C76, Class V.

- Drawing A108, Door Schedule

Change Door No. 107A to Type B 2.

CONTRACT 1-99 – SECTION 00900 - ADDENDUM NO. 1