# INTENT

# This section covers the construction of small concrete structures including head walls, retaining walls, cast-in-place manholes and catchbasins, concrete bases and thrust blocks.

# RELATED WORK SPECIFIED ELSEWHERE

# Embedded Work in Structures for Electrical Systems – OPSS 913

# Sign Support Structures – OPSS 915

# PRODUCTS

# Granular Material for Backfilling and Bedding – OPSS 902

# 19 mm Clear Stone – OPSS 1004

# Concrete – OPSS 1350

# Portland Cement – OPSS 1301

# Steel Reinforcement – OPSS 1440

Precast Concrete Structures – OPSS 1351

Concrete Steps – OPSS 352

# EXECUTION

# Excavation and Backfilling – OPSS 902

# Concrete Work – OPSS 904

# Reinforcing Steel – OPSS 905

# Formwork and Falsework – OPSS 919

# BASIS OF PAYMENT/MEASUREMENT FOR PAYMENT

# The price tendered for each structure shall include all labour, materials and equipment to complete the work including drain holes and sleeves.

Measurement for payment for steps shall be based on the horizontal area of the steps, as constructed including the platform, if part of the stair structure.

Measurement for payment for retaining walls shall be based on the volume of concrete placed, based on plan measurement.

# No additional payment shall be made for earth excavation, granular backfill or reinforcing steel.