# INTENT

# This section concerns the installation of pipelines by tunnelling, directional drilling or by boring and jacking.

# Related Work

# Related Work specified elsewhere includes:

# Section 02530 – Landscaping

# Section 02570 – Excavation and Backfill of Trenches

# Section 02575 – Storm and Sanitary Sewers

# Section 02580 – Watermains

# Section 02590 – Storm and Sanitary Forcemains

# PRODUCTS

# Concrete - OPSS 1350

# Primary and Secondary Liners - OPSS 415

# Pipe – Size, type and class as shown on the drawings.

# Drilling Fluids – In accordance with manufacturers’ recommendations.

# EXECUTION

# Tunneling - OPSS 415

# Jacking and Boring – OPSS 416

# Acceptable tolerances shall be ± 100 mm horizontally and ± 50 mm vertically.

# Directional Drilling – OPSS 450

# Minimum horizontal and vertical clearance with other utilities is 600 mm.  Acceptable tolerances shall be ± 100 mm horizontally and ± 50 mm vertically.

# CCTV Inspection not required.

# MEASUREMENT FOR PAYMENT / BASIS OF PAYMENT

# Payment for tunnelling, boring and jacking, and directional drilling will be included in the unit price for the pipelines being installed by these methods.